[image: image1.png]BABCOCK&BROWN
COMMUNITIES




	[image: image2.emf]
	AREA
	OCCUPATIONAL HEALTH & SAFETY

	
	TITLE
	WORKING AT HEIGHTS PERMIT 

	
	NUMBER
	10.2.6.3.1



	WORK AT HEIGHTS PERMIT

	High access work includes: work on a platform/work on a ladder

	Location and Task 

	Company Name:
	Site Name

	Contractor Name:
	

	Work requested by:
	

	Permit number:
	

	Location:
	

	Task(s) this permit applies to:
	

	Contractor/(Site) employee(s) completing work:
	

	Description of Task/Work to be undertaken (Describe Safety equipment)

	

	The remaining detail of this permit must be signed by the responsible person(s) before work is to proceed and only work listed may be done 

	Isolation of Equipment

	Checks The items ticked below have been isolated or made safe:

	
	Pipeline (water, steam, gas, etc Risk assessment completed?)

	
	Mechanical/electrical drives

	
	Electrical services 

	
	Warning notices, locks or tags have been fixed to means of isolation 

	
	Tag-out / Lock-out log completed

	Emergency Procedures

	Checks

	(
	Emergency procedures are understood and have been posted

	Brittle and fragile roof

	
	Under-side of roof inspected

	
	Safety mesh present

	
	Structurally sound

	
	Temporary walkway installed on roof (450mm width with timber cleats & guardrail)

	
	Safety harnesses attached via individual fall arrest device to static line positioned above the ridge line.


	Control measures

	Note: Work that is to be conducted within two metres of any edge on a new or existing roof from which a person could fall a distance of 1800 mm or more, the following provisions must be considered.

	(
	Measures ticked below have been implemented:

	
	Warning notices/barricades are in position to warn pedestrians

	
	Ladder

	
	Safety mesh

	
	Individual fall arrest systems

	
	Scaffolding

	
	Guardrails

	
	Special precautions (indicate)



	(
	Safety equipment check

	Ladder

	
	Ladder secured against displacement at the top & provided with non-slip feet.

	
	Provision for safe standing space after alighting from ladder

	
	Steps of ladder extend at least 1000mm above the stepping off point

	
	Electrified powerlines are not used in the vicinity of metal or wire bound lad

	Safety Mesh

	
	Mesh has been certified by a National Association of Testing Authorities

	
	Mesh is present in the existing building

	Note: Mesh is not intended as provision for access or a working platform.  Persons should avoid walking or standing on the mesh except in recovery from a fall.

	Individual Fall Arrest Systems

	
	An Inertia reel systems comply with BS 5062

	
	Safety harnesses comply with AS 1891

	
	Persons properly trained on use of equipment

	
	Maximum distance a person would fall, equipped with a parachute safety is 1800mm

	
	Full body harnesses of parachute type connected to the lanyard or lifeline at the top dorsal position is to be worn

	
	Vertical lifelines/droplines to be used.  Only one person is to be attached to each lifeline

	
	Vertical lifeline has the minimum tensile strength of 22.2 KN

	
	Self-retracting lifelines should have a minimum tensile strength of 13.3 KN

	
	Intermediate supports for static lines are less than 4000mm spacing

	
	Shophooks are not connected to each other

	Scaffolding

	
	Scaffolding is not lower than 1800mm below working surface.

	
	Platform is a minimum of 500mm front to back and the width of the roof

	
	Scaffolding has been constructed by a certified person

	Guardrails

	
	Guardrail constructed to withstand a force of 0.445 KN at any point of the guardrail system

	
	Guardrail is 990mm in height above the working surface

	
	Guardrail incorporates a mid-rail

	
	A toe board is installed (where slope of the roof exceeds 15 degrees from the horizontal)

	
	Guardrail constructed to withstand a force of 0.445 KN at any point of the guardrail

	Personal Protective equipment

	(
	The personal protective equipment ticked below shall be worn (specify details where appropriate):

	
	Eye protection

	
	Hand and arm protection

	
	Safety boots

	
	Footwear - rubber soled with herringbone or similar tread pattern only (no synthetic sole)

	
	Long pants

	
	Overalls with elasticised shoulder straps

	
	Long sleeve shirt

	
	Hearing protection

	
	Other:

	
	Protective clothing

	
	Hearing protection

	
	Other:



	Note: If hot work is to be performed at a height, a hot work permit must be completed.

	Sign in/Sign out

	This must indicate the time work will commence and the expected completion time. (Use 24 hour time)

	Print Name and Initial:
	Time
	Print Name and Initial:
	Time

	
	Entry
	Exit
	
	Entry
	Exit

	
	
	
	
	
	

	
	
	
	
	
	


10.2.6.3.1 Working At Heights Permit

Created:  27-Jul-08 

[image: image3.png]


Page 2 of 2 pages

Updated: 27-Jul-08
Controlled Document Restricted

Page 1 of 2
Procedure # OHS 10.2.6.3.1 Revision # 1 Effective  1 August 2008         Authorised: Managing Director

